CAP-ROC v0.1
Capacity-Constrained ROC Feasibility Standard

SparkVault small artifact: a hard gate for rare-event alerting systems.

Version: v0.1  |  Status: Draft  |  Author: Spark (with GPT co-engineering)
Purpose: prevent alert fatigue by enforcing a feasibility constraint before deployment.

# 1. Scope and intent

CAP-ROC is a minimal, auditable gate for any system that produces alerts which require human review (ICU alarms, fraud flags, safety incidents, content moderation, etc.). It converts model operating points (TPR/FPR) into a throughput feasibility check against real human capacity.

CAP-ROC does not replace clinical policy, safety policy, or model evaluation. It adds one hard question: can humans keep up?

# 2. Core gate

Define the expected alert rate A (alerts per unit time):

A = R * [ p * TPR + (1 - p) * FPR ]

Capacity-stable review requires:

A <= C

Equivalent constraint (solve for the maximum allowable false positive rate):

FPR_max = (C / R - p * TPR) / (1 - p)

Feasibility condition:

If (C / R - p * TPR) < 0, the system is over capacity even with FPR = 0. No threshold can fix it; capacity or scope must change.

# 3. Definitions

| Symbol | Meaning | Units |
| --- | --- | --- |
| R | Incoming item rate (events, transactions, patient-windows) per time unit | items / time |
| p | Base anomaly rate: Pr(anomaly) | dimensionless |
| TPR | True positive rate: Pr(alert ¦ anomaly) | dimensionless |
| FPR | False positive rate: Pr(alert ¦ normal) | dimensionless |
| C | Human review capacity: max alerts processed per time unit without backlog | alerts / time |
| A | Expected alert rate | alerts / time |

# 4. How to use CAP-ROC (deployment checklist)

Choose a time unit that matches staffing reality (per hour, per shift, per day).

Estimate R from logs (items per time).

Estimate p from ground truth (not model output). If uncertain, use a conservative range.

Estimate (TPR, FPR) at the proposed operating threshold from retrospective evaluation.

Estimate C from staffing and workflow (separate 'acknowledge' vs 'act' capacity if possible).

Compute A and verify A <= C. If not, the system fails the CAP-ROC gate.

Record the CAP-ROC decision log (Section 7) and required mitigations (Section 6) if failing.

# 5. ROC feasibility map (what this means visually)

CAP-ROC defines a feasible region in ROC space. For any chosen FPR, the maximum feasible TPR is:

TPR_max(FPR) = (C / R - (1 - p) * FPR) / p

Any operating point (FPR, TPR) above this line will exceed human review capacity on average.

# 6. Standard mitigations when failing the gate

Reduce FPR by raising the alert threshold (trade sensitivity for workload).

Add staged triage (cheap filter -> stronger model -> human).

Change scope to raise p (alert only on higher-risk subsets).

Increase C (staffing, workflow redesign, automation of low-value steps).

Change the time unit (review in batches) only if latency remains acceptable.

# 7. Decision log template (auditable)

Record the following fields for any CAP-ROC assessment:

System name / version

Time unit

R (items/time) and how measured

p range and how estimated

TPR, FPR at proposed threshold and evaluation dataset

C (alerts/time) and staffing/workflow basis

Computed A and PASS/FAIL

If FAIL: chosen mitigation and new target operating point

# 8. Worked example (ICU sepsis early warning)

Example inputs: 20 beds, 1-hour windows -> R = 20 windows/hour. Assume p = 0.01, TPR = 0.85. If the team can sustainably process C = 4 alerts/hour:

Compute: FPR_max = (C/R - p*TPR)/(1-p) = (0.2 - 0.0085)/0.99 ≈ 0.193.

Interpretation: if FPR is above ~19.3% at this operating point, the alert stream will exceed capacity on average.

# 9. Consistency check (required whenever math is used)

Definitions table present and unambiguous.

Ratio direction audit: numerator/denominator stated in words for any fraction.

Units/dimensions checked for each equation.

Edge cases checked (p->0, p->1, FPR->0, TPR->1).

Worked example recomputed from scratch and matches printed values.

If any inconsistency is found: correct it and version-bump.

# Appendix A: Minimal CLI tool

A reference CLI tool (cap_roc_tool.py) is included alongside this standard. It computes A, PASS/FAIL, and the derived constraints (FPR_max, required C).